{"text_format":"2","workbook":"xls","n_sheets":3,"sheets":["Sheet1","Sheet2","Sheet3"],"not_rendered":{"charts":2,"images":0,"macros":0,"external_links":1,"defined_names":0,"comments":0,"pivot_tables":0},"unopened":[],"bounds":{"document_bytes":16777216,"sheet_cells":100000,"run_cost":"one","rows_first":2000,"rows_last":500,"rows_between":2000,"halvings":0,"cell_chars":16384,"cell_head_chars":4096},"cells_cut":0,"cells_raw":0,"read":"whole","date_system":"1900","formulas":"cached_only"}

{"sheet":"Sheet1","index":0,"n_rows":23,"n_cols":4,"rows_kept":23,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
[]
["Current on M2 while tehere is a Voltage on M1 or M3"]
[]
[null,"Voltage on M1 1.Run","Voltage on M3","Voltage on M1 2.Run"]
["Voltage [V]","Current [A]","Current [A]"]
[0,1.8e-10,4e-11,1.9e-10]
[10,2.5e-10,5e-11,2.6e-10]
[20,3.05e-10,5e-11,3e-10]
[30,3.3e-10,5.6e-11,3.1e-10]
[40,3.4e-10,6e-11]
[50,3.5e-10,6.2e-11]
[80,3.6e-10,7e-11,3.6e-10]
[100,3.7e-10,8e-11]
[200,3.9e-10,1e-10]
[300,4e-10,1.2e-10,4e-10]
[500,4.1e-10,1.5e-10]
[700,4.1e-10,1.7e-10,4.3e-10]
[900,4.1e-10,1.8e-10]
[1000,4.1e-10,1.9e-10,4.3e-10]
[1200,null,2.1e-10]
[1400,null,2.2e-10]
[1500,null,2.3e-10]
[0,5e-11,null,1.9e-10]

{"sheet":"Sheet2","index":1,"n_rows":26,"n_cols":3,"rows_kept":26,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}
[]
["Current on M1and M3 while there is a Voltage of 800 Volts on M3."]
[]
[]
["Voltage on M1 [V]","Current on M2 [A]","Current on M3 [A]"]
[500,3e-08,3e-09]
[400,2.9e-08,1e-08]
[350,2.9e-08,1.3e-08]
[300,2.9e-08,1.8e-08]
[250,2.9e-08,2.7e-08]
[200,2.9e-08,2.7e-08]
[150,3e-08,2.5e-08]
[100,2.95e-08,2.7e-08]
[50,2.9e-08,2.7e-08]
[10,2.7e-08,2.5e-08]
[0,2.1e-08,1.8e-08]
[0,9e-09,9e-09]
[-20,9e-09,9e-09]
[-50,8.5e-09,7e-09]
[-100,7e-09,6e-09]
[-150,6e-09,5.5e-09]
[-200,5e-09,5e-09]
[-300,4e-09,4e-09]
[-350,4e-09,4e-09]
[-400,3e-09,3e-09]
[-500,3e-09,3e-09]

{"sheet":"Sheet3","index":2,"n_rows":0,"n_cols":0,"rows_kept":0,"cut":false,"hidden":false,"merged":[],"flags":["formulas_cached_only"]}